## hydro and thermal
|  |  | AES | AFAM IV-V | AFAM VI | ALAOJI NIPP | DELTA | EGBIN | GEREGU |  | GEREGU NIPP | IHOVBOR NIPP | JEBBA | JEBBA | OKPAI | OLORUNSOGO | OLORUNSOGO NIPP | OMOKU | OMOTOSHO | OMOTOSHO NIPP | RIVERS IPP | SAPELE | SAPELE NIPP | SHIRORO | [8 empty] | KAINJI | JEBBA | SHIRORO | EGBIN ST2 - 5 | SAPELE | DELTA | AFAM IV-V
| SUMIFS(MainData!M:M,MainData!E:E,"GENERATION - SITE - INSTALLED AVAILABLE CAPACITY MW",MainData!F:F,$A425) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 |  | 27 | 28
|  |  | AES | AFAM IV-V | AFAM VI | ALAOJI NIPP | DELTA | EGBIN | GEREGU | IBOM POWER | GEREGU NIPP | IHOVBOR NIPP | JEBBA | KAINJI | OKPAI | OLORUNSOGO | OLORUNSOGO NIPP | OMOKU | OMOTOSHO | OMOTOSHO NIPP | SAPELE | SAPELE NIPP | SHIRORO | TRANS AMADI | ASCO | GBARAIN | ODUKPANI | PARAS | PARAS ENERGY | RIVERS IPP | AZURA - EDO IPP
|  |  | GAS | GAS | GAS | GAS | GAS | GAS / STEAM | GAS | GAS | GAS | GAS | HYDRO | HYDRO | GAS | GAS | GAS | GAS | GAS | GAS | GAS / STEAM | GAS | HYDRO | GAS | GAS | GAS | GAS |  | GAS | GAS | GAS
|  |  | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | HYDRO | HYDRO | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | HYDRO | THERMAL | THERMAL | THERMAL | THERMAL |  | THERMAL | THERMAL | THERMAL
|  | Event Date | IPP-A | FGN | IoC | NIPP | FGN | FGN | FGN | IPP-A | NIPP | NIPP | FGN | FGN | IoC | FGN | NIPP | IPP-A | FGN | NIPP | FGN | NIPP | FGN | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A
Jul | 2018 | 2018-07-01 | 0 | 811 | 3406.12 | 0 | 10550.53 | 11254 | 4138.8 | 1710.43 | 2120.63 | 2100 | 3740 | 3741 | 3215 | 3677.03 | 0 | 1797.5 | 3448 | 2190.6 | 593.6 | 4049.06 | 3880 | 1152.4 | [7 empty] | 67575.7 | 2938.0739
Jul | 2018 | 2018-07-02 | 0 | 815 | 2411.6 | 0 | 12731.63 | 11795 | 4993.9 | 1438.6 | 2522.49 | 2170 | 3768 | 3769 | 5323 | 3012.54 | 0 | 1699.2 | 3362 | 2209.2 | 805.3 | 2693.39 | 4786 | 1176.5 | [7 empty] | 71482.35 | 3107.9283
Jul | 2018 | 2018-07-03 | 0 | 0 | 4405.58 | 0 | 11179.31 | 14201 | 5418 | 1422.47 | 2801.63 | 2370 | 4039 | 4040 | 5633 | 3919.4 | 0 | 1534.2 | 4142 | 3225.6 | 856.3 | 3420.59 | 6163 | 1056.2 | [7 empty] | 79827.28 | 3470.7513
Jul | 2018 | 2018-07-04 | 0 | 116 | 5726.08 | 0 | 13008.27 | 12946 | 3700.1 | 1542.61 | 2844.25 | 2330 | 4005 | 4006 | 5543 | 3747.87 | 0 | 1168.5 | 3380 | 4627.7 | 1015.8 | 4225.24 | 7784 | 1048 | [7 empty] | 82764.42 | 3598.453
Jul | 2018 | 2018-07-05 | 0 | 1824 | 3083.71 | 0 | 12049.52 | 12366 | 3255.6 | 1880.63 | 2741.38 | 2140 | 3547 | 3548 | 5343 | 3436.51 | 0 | 1233.6 | 3261 | 4564.4 | 1045.5 | 3197.43 | 7606 | 1061.8 | [7 empty] | 77185.08 | 3355.873
Jul | 2018 | 2018-07-06 | 0 | 1781 | 2950.1 | 0 | 12787.29 | 12937 | 4355.2 | 2064.05 | 2760.62 | 2180 | 2977 | 2978 | 5490 | 3299.91 | 0 | 1735.2 | 3624 | 4667.5 | 1056.6 | 4113.28 | 7751 | 1106 | [7 empty] | 80613.75 | 3504.9457
Jul | 2018 | 2018-07-07 | 0 | 1799 | 2767.84 | 0 | 11049.45 | 12943 | 3931.1 | 1870.24 | 2663.13 | 2120 | 2671 | 2672 | 4323 | 3459.69 | 0 | 1678 | 3338 | 4380.8 | 795.1 | 4110.64 | 5769 | 1218.7 | [7 empty] | 73559.69 | 3198.2474
Jul | 2018 | 2018-07-08 | 0 | 1314 | 2289.8 | 0 | 9514.84 | 7583 | 1916.1 | 1448.71 | 2097.62 | 1730 | 2868 | 2869 | 3028 | 2357.21 | 436.1 | 1476.3 | 2588 | 2999.3 | 565 | 2831.79 | 6360 | 1084 | [7 empty] | 57356.77 | 2493.7726
Jul | 2018 | 2018-07-09 | 0 | 938 | 3128.88 | 0 | 12248.64 | 13493 | 3630.5 | 1924.93 | 2793.75 | 2150 | 3824 | 3825 | 3199 | 3924.67 | 3930.4 | 1864 | 4096 | 4638.6 | 0 | 4339.94 | 7728 | 991.8 | [7 empty] | 82669.11 | 3594.3091
Jul | 2018 | 2018-07-10 | 0 | 1788 | 5440.65 | 0 | 12153.14 | 14119 | 4481.3 | 1926.67 | 2111.63 | 3935.56 | 3461 | 3462 | 3826 | 3174.62 | 3829.1 | 1886.2 | 3280 | 4455.4 | 0 | 3862.59 | 6752 | 974.3 | [7 empty] | 84919.16 | 3692.1374
Jul | 2018 | 2018-07-11 | 0 | 1777 | 5971.58 | 0 | 11086.06 | 13457 | 5322.1 | 2035.67 | 2789.37 | 4080 | 4252 | 4253 | 4884 | 3120.62 | 2324.9 | 1863.7 | 3482 | 4402.8 | 0 | 3035.5 | 9962 | 977.9 | [7 empty] | 89077.2 | 3872.9217
Jul | 2018 | 2018-07-12 | 0 | 1779 | 3321.19 | 0 | 11748.48 | 14867 | 5153.9 | 229.83 | 2893 | 2250 | 4647 | 4648 | 5444 | 2828.19 | 2481.1 | 1882.7 | 3224 | 4665 | 0 | 3902.2 | 8497 | 970.8 | [7 empty] | 85432.39 | 3714.4517
Jul | 2018 | 2018-07-13 | 0 | 1806 | 3409.51 | 0 | 10946.33 | 15244 | 4782 | 0 | 2878.72 | 2070 | 4374 | 4375 | 5240 | 3344.9 | 2310.7 | 1685.7 | 3263 | 3599.5 | 0 | 3671.47 | 9246 | 847.3 | [7 empty] | 83094.13 | 3612.7883
Jul | 2018 | 2018-07-14 | 0 | 1722 | 3751.06 | 0 | 12308.45 | 13730 | 4301.6 | 1667.54 | 2723 | 2290 | 3368 | 3369 | 5352 | 3057.72 | 0 | 1575.1 | 2774 | 4595.3 | 626 | 2862.73 | 9010 | 934 | [7 empty] | 80017.5 | 3479.0217
Jul | 2018 | 2018-07-15 | 0 | 1288 | 5591.17 | 0 | 10678.07 | 15712 | 5436.5 | 1871.32 | 2699.88 | 2220 | 2433 | 2434 | 5186 | 3369.09 | 1191.6 | 1758.1 | 2817 | 4477.4 | 985.2 | 3945.67 | 8062 | 954.9 | [7 empty] | 83110.9 | 3613.5174
Jul | 2018 | 2018-07-16 | 0 | 1789 | 2865.63 | 0 | 11789.07 | 12281 | 3877.8 | 2076.59 | 2735.75 | 2270 | 2938 | 2939 | 4822 | 2754.79 | 2426.7 | 1651.3 | 2970 | 2348 | 718.3 | 2931.89 | 8827 | 1132.9 | [7 empty] | 76144.72 | 3310.64
Jul | 2018 | 2018-07-17 | 0 | 1753 | 2933.04 | 0 | 10969.69 | 14059 | 4694.7 | 1931.6 | 2284.12 | 2090 | 3653 | 3654 | 5259 | 2735.78 | 2491.6 | 1275.7 | 3007 | 2446.9 | 1137.8 | 2583.43 | 7433 | 1096.8 | [7 empty] | 77489.16 | 3369.0939
Jul | 2018 | 2018-07-18 | 0 | 1533 | 4034.52 | 0 | 10772.62 | 14590 | 4643.4 | 1496.51 | 2758.13 | 2170 | 4151 | 4152 | 5077 | 2775.29 | 2406.4 | 1213.2 | 2986 | 4353.5 | 902.8 | 3078.08 | 9257 | 1334.2 | [7 empty] | 83684.65 | 3638.463
Jul | 2018 | 2018-07-19 | 0 | 1567 | 5818.68 | 0 | 11578.79 | 13354 | 4526.6 | 870.44 | 3103.26 | 2170 | 4681 | 4682 | 5404 | 2931.62 | 920.7 | 1455 | 3014 | 4536.4 | 990.7 | 3992.24 | 7356 | 1340.8 | [7 empty] | 84293.23 | 3664.923
Jul | 2018 | 2018-07-20 | 0 | 1501 | 4705.33 | 0 | 10895.58 | 13419 | 4322.4 | 112.4 | 2769.99 | 2140 | 4554 | 4555 | 5077 | 2974 | 0 | 1735.6 | 2894 | 2423.8 | 1175.1 | 3921.73 | 6405 | 1427.1 | [7 empty] | 77008.03 | 3348.1752
Jul | 2018 | 2018-07-21 | 0 | 1555 | 3957.52 | 0 | 10494.89 | 14009 | 4246.7 | 539.69 | 2245 | 2230 | 5008 | 5009 | 5239 | 2802.69 | 0 | 1777.6 | 2968 | 2240.2 | 1182.1 | 4107.99 | 2932 | 1403 | [7 empty] | 73947.38 | 3215.1035
Jul | 2018 | 2018-07-22 | 0 | 1523 | 3398.91 | 0 | 11731.12 | 13626 | 3004.3 | 1822 | 2921.13 | 2200 | 4196 | 4197 | 5273 | 3284.4 | 648.9 | 1822.8 | 3282 | 2253 | 966.3 | 2527.54 | 7806 | 1428.6 | [7 empty] | 77912 | 3387.4783
Jul | 2018 | 2018-07-23 | 0 | 1541 | 3418.38 | 0 | 11512 | 14491 | 3558.5 | 1779.62 | 2893.25 | 2090 | 4199 | 4200 | 5066 | 3177.1 | 2580.8 | 1682.3 | 3003 | 2285.8 | 872.5 | 2482.65 | 7846 | 1404.5 | [7 empty] | 80083.4 | 3481.887
Jul | 2018 | 2018-07-24 | 0 | 1557 | 3611.76 | 0 | 11232.23 | 15723 | 3401.5 | 1779.69 | 2892.5 | 2140 | 4448 | 4449 | 6681 | 3428.4 | 2569.9 | 1882.5 | 3268 | 2342.9 | 1047.6 | 2032 | 7801 | 1538.7 | [7 empty] | 83826.68 | 3644.6383
Jul | 2018 | 2018-07-25 | 0 | 1526 | 5752 | 0 | 10899.13 | 14973 | 3008.4 | 1703.78 | 2857.25 | 2133.75 | 4731 | 4732 | 5867 | 3672.29 | 2601 | 1853.7 | 2903 | 2069 | 1091 | 2006.38 | 8178 | 1360 | [7 empty] | 83917.68 | 3648.5948
Jul | 2018 | 2018-07-26 | 0 | 1481 | 4596.82 | 0 | 11252 | 14610 | 3062.7 | 1783.65 | 2878.62 | 2185.07 | 4418 | 4419 | 5658 | 3302.21 | 1979.7 | 1571 | 2902 | 2126.9 | 1094.6 | 2528.81 | 8547 | 1418.4 | [7 empty] | 81815.48 | 3557.1948
Jul | 2018 | 2018-07-27 | 0 | 1466 | 6253.67 | 0 | 10771.96 | 14068 | 2937.3 | 1874.25 | 2840.88 | 2035.93 | 4342 | 4343 | 6238 | 3324.19 | 2079.6 | 1476.7 | 2892 | 2299.7 | 1139.7 | 2363.68 | 7148 | 1269.1 | [7 empty] | 81163.66 | 3528.8548
Jul | 2018 | 2018-07-28 | 0 | 1470 | 5490.27 | 0 | 10254.06 | 13748 | 2216.3 | 1835.31 | 2786.5 | 2137.57 | 4658 | 4659 | 7384 | 2941.1 | 1895 | 1638.1 | 2901 | 2232.9 | 1141.2 | 2067.61 | 6587 | 1493.2 | [7 empty] | 79536.12 | 3458.0922
Jul | 2018 | 2018-07-29 | 0 | 1475 | 5601.27 | 0 | 10723.07 | 13021 | 2680.6 | 1794.12 | 1967.64 | 2181 | 3404 | 3405 | 6636 | 3080 | 420.1 | 1554.5 | 2874 | 2224.3 | 1145.6 | 2061.47 | 5351 | 1565.3 | [7 empty] | 73164.97 | 3181.0857
Jul | 2018 | 2018-07-30 | 0 | 1450 | 5758.25 | 0 | 12119.07 | 12759 | 1312 | 1663.06 | 1331.13 | 2206.5 | 5397 | 5398 | 6788 | 3060 | 2446.3 | 1304.2 | 2974 | 2287.2 | 1136.1 | 2114.89 | 7509 | 1480.5 | [7 empty] | 80494.2 | 3499.7478
Jul | 2018 | 2018-07-31 | 0 | 1470 | 5781.51 | 0 | 10372.6 | 13938 | 4580.1 | 1839.49 | 2823.62 | 2170.42 | 4986 | 4987 | 6476 | 3070 | 2339.6 | 1182 | 2069 | 2287.7 | 1136.3 | 2420.35 | 8051 | 1464.8 | [7 empty] | 83445.49 | 3628.0648
Aug | 2018 | 2018-08-01 | 0 | 679 | 3191.16 | 321.56 | 11358.42 | 11728 | 4497.1 | 1900.07 | 2874.76 | 2127.01 | 7400 | 7401 | 6608 | 3089.43 | 1723.4 | 1326.3 | 2530 | 2274.9 | 946.9 | 2502.53 | 8942 | 1514.2 | [7 empty] | 84935.74 | 3692.8583
Aug | 2018 | 2018-08-02 | 0 | 439 | 2794.42 | 1995.44 | 10140.66 | 12514 | 2812.5 | 1936.68 | 2385.25 | 2088.88 | 7658 | 7659 | 6572 | 3055.07 | 377.1 | 1209 | 2595 | 2213.8 | 724.9 | 3896.84 | 9879 | 1257.2 | [7 empty] | 84203.74 | 3661.0322
Aug | 2018 | 2018-08-03 | 0 | 1294 | 2787.47 | 9.88 | 10365.44 | 11450 | 3175.5 | 1959.89 | 2775.25 | 2248.12 | 6267 | 6268 | 6635 | 3146.81 | 227.9 | 1335.3 | 2958 | 2202.7 | 1231.9 | 2279.74 | 10160 | 1264.4 | [7 empty] | 80042.3 | 3480.1
Aug | 2018 | 2018-08-04 | 0 | 792 | 2835.19 | 310.81 | 11329.21 | 11671 | 3553.4 | 1845.4 | 2814.25 | 2173.38 | 6129 | 6130 | 6917 | 3140.62 | 932.9 | 1315 | 3166 | 2275.2 | 801.3 | 2255.55 | 8295 | 1443 | [7 empty] | 80125.21 | 3483.7048
Aug | 2018 | 2018-08-05 | 0 | 306 | 3298.77 | 1960.56 | 10300.93 | 11250 | 2856.1 | 1758.08 | 2740.24 | 2257.12 | 6687 | 6688 | 6442 | 3567.88 | 2577.8 | 1284.9 | 3463 | 2264.7 | 140.4 | 2294.88 | 7218 | 1454 | [7 empty] | 80810.36 | 3513.4939
Aug | 2018 | 2018-08-06 | 0 | 1468 | 3497.76 | 2031.94 | 12316.95 | 11236 | 459 | 1607.6 | 478.26 | 2186.69 | 7129 | 7130 | 6845 | 3430.69 | 2991.5 | 1336.5 | 3339 | 2182.4 | 718.9 | 2264.79 | 8502 | 558 | [7 empty] | 81709.98 | 3552.6078
Aug | 2018 | 2018-08-07 | 0 | 1186 | 3602.77 | 2031.19 | 12120.01 | 12469 | 0 | 1619.65 | 0 | 3004.38 | 7264 | 7265 | 2144 | 3406.21 | 3522.4 | 1237.9 | 3232 | 3225.9 | 0 | 2744.13 | 10613 | 0 | [7 empty] | 80687.54 | 3508.1539
Aug | 2018 | 2018-08-08 | 0 | 1073 | 3643.54 | 2028.81 | 12530.3 | 12240 | 0 | 102.03 | 0 | 3911.43 | 7643 | 7644 | 4111 | 3350.81 | 3101.8 | 986.9 | 3284 | 4757.9 | 0 | 3932.83 | 7958 | 0 | [7 empty] | 82299.35 | 3578.2326
Aug | 2018 | 2018-08-09 | 0 | 59 | 854.07 | 2030.9 | 12271.08 | 12941 | 0 | 0 | 0 | 3685.05 | 8113 | 8114 | 5221 | 4024.5 | 3122.1 | 1297.6 | 2984 | 2654.3 | 627.2 | 3732.8 | 10376 | 0 | [7 empty] | 82107.6 | 3569.8957
Aug | 2018 | 2018-08-10 | 0 | 366 | 3089.03 | 2302.1 | 12692.21 | 10224 | 0 | 0 | 0 | 2609.81 | 8372 | 8373 | 3868 | 2837.81 | 2050.9 | 1299.2 | 2717 | 2017.7 | 1000.5 | 3174.9 | 11857 | 0 | [7 empty] | 78851.16 | 3428.3113
Aug | 2018 | 2018-08-11 | 0 | 1329 | 2880.15 | 2381 | 10781.4 | 13903 | 0 | 0 | 0 | 4285.63 | 6870 | 6871 | 4470 | 3001.41 | 2369.3 | 1105.1 | 3051 | 2259.3 | 990.9 | 3973.04 | 6408 | 523.5 | [7 empty] | 77452.73 | 3367.51
Aug | 2018 | 2018-08-12 | 0 | 1442 | 2764.07 | 2031 | 11398.43 | 12693 | 0 | 0 | 0 | 4094.62 | 6363 | 6364 | 6539 | 2950.96 | 2065.5 | 834.3 | 3069 | 2210.6 | 889.2 | 3745.34 | 6201 | 713.1 | [7 empty] | 76368.12 | 3320.353
Aug | 2018 | 2018-08-13 | 0 | 1461 | 2921.92 | 2029.19 | 12085.02 | 10076 | 24.8 | 0 | 0 | 2545.31 | 6581 | 6582 | 5699 | 2831.09 | 2192 | 1298.7 | 2969 | 2300.4 | 211.9 | 2536.3 | 6836 | 1401.1 | [7 empty] | 72581.73 | 3155.7274
Aug | 2018 | 2018-08-14 | 0 | 1154 | 2922.79 | 2155.68 | 11263.4 | 9907 | 0 | 0 | 0 | 2090.19 | 7851 | 7852 | 5601 | 2855.65 | 2660.1 | 1287.6 | 3008 | 2298.4 | 756.5 | 2615.06 | 12708 | 1535.4 | [7 empty] | 80521.77 | 3500.9465
Aug | 2018 | 2018-08-15 | 0 | 788 | 2947.04 | 2223.5 | 12151.5 | 11164 | 0 | 0 | 0 | 2180.5 | 8403 | 8404 | 6270 | 3119.86 | 3398.5 | 1269.2 | 3055 | 2348.6 | 1044.6 | 2746.1 | 11383 | 1266.8 | [7 empty] | 84163.2 | 3659.2696
Aug | 2018 | 2018-08-16 | 0 | 1451 | 2993.73 | 2679.94 | 12287.38 | 10945 | 610 | 0 | 0 | 3236.19 | 8341 | 8342 | 6567 | 3633.05 | 4117.9 | 1317.3 | 3287 | 2351.4 | 1106 | 4138.51 | 11423 | 1369.6 | [7 empty] | 90197 | 3921.6087
Aug | 2018 | 2018-08-17 | 0 | 1470 | 2867.74 | 2041.19 | 11712.65 | 10873 | 2315.5 | 0 | 0 | 3546.19 | 6964 | 6965 | 6549 | 3838.69 | 3180.2 | 1348.3 | 4162 | 2323.9 | 707.7 | 2614.41 | 7546 | 1533.4 | [7 empty] | 82558.87 | 3589.5161
Aug | 2018 | 2018-08-18 | 0 | 1566 | 2979.39 | 1958.56 | 10080.87 | 10890 | 2783.9 | 0 | 0 | 2246.5 | 6216 | 6217 | 5756 | 3530.4 | 4741.1 | 1566.7 | 3394 | 2232.2 | 1091.2 | 2146.84 | 7747 | 1519.9 | [7 empty] | 78663.56 | 3420.1548
Aug | 2018 | 2018-08-19 | 0 | 1398 | 2833.36 | 1959.63 | 10198.54 | 10842 | 2969.8 | 0 | 0 | 2184.43 | 6631 | 6632 | 5674 | 3268.41 | 3135.1 | 1732.4 | 3626 | 2297.7 | 663.8 | 1995.89 | 7827 | 1372 | [7 empty] | 77241.06 | 3358.307
Aug | 2018 | 2018-08-20 | 0 | 1431 | 2367.19 | 1713.87 | 9184.2 | 10459 | 2520.9 | 0 | 0 | 2200.07 | 7238 | 7239 | 5992 | 3291.75 | 3931.8 | 1567.3 | 3135 | 2311.2 | 1100.3 | 2084.34 | 7377 | 1316 | [7 empty] | 76459.92 | 3324.3443
Aug | 2018 | 2018-08-21 | 0 | 1485 | 2924.13 | 1306.87 | 10591.13 | 11341 | 2545.1 | 0 | 0 | 2192.93 | 7011 | 7012 | 4982 | 2975.63 | 4697.8 | 240.8 | 3755 | 2307.5 | 878.6 | 2039.59 | 8804 | 324.4 | [7 empty] | 77414.48 | 3365.847
Aug | 2018 | 2018-08-22 | 0 | 1500 | 2924.89 | 2130 | 12396.1 | 12401 | 2202.3 | 0 | 0 | 2024 | 6836 | 6837 | 5083 | 3220 | 2558.2 | 883.2 | 4151 | 2315.3 | 974.2 | 2084.66 | 8250 | 1004.4 | [7 empty] | 79775.25 | 3468.4891
Aug | 2018 | 2018-08-23 | 0 | 1487 | 2972.04 | 2011 | 11725.3 | 12662 | 2178.2 | 0 | 0 | 2335.75 | 8242 | 8243 | 5958 | 3169.38 | 2467 | 1032.7 | 3806 | 2334.9 | 1205.4 | 2071.24 | 7675 | 1145.8 | [7 empty] | 82721.71 | 3596.5961
Aug | 2018 | 2018-08-24 | 0 | 1463 | 2913.92 | 594.01 | 11980.6 | 8729 | 2360.4 | 0 | 0 | 2144 | 9207 | 9208 | 5164 | 3706.81 | 2672 | 588.4 | 3670 | 2289.8 | 1275.7 | 1968.17 | 9153 | 841 | [7 empty] | 79928.81 | 3475.1657
Aug | 2018 | 2018-08-25 | 0 | 1292 | 2862.78 | 2055.12 | 9993.52 | 10126 | 2360 | 0 | 0 | 2029.25 | 8871 | 8872 | 5031 | 3864.31 | 2426.7 | 1181.4 | 3090 | 2261.6 | 203.4 | 2001.44 | 8225 | 1421.5 | [7 empty] | 78168.02 | 3398.6096
Aug | 2018 | 2018-08-26 | 0 | 878 | 2818.9 | 2189.5 | 9537.82 | 10675 | 2926.6 | 0 | 0 | 2115.19 | 8123 | 8124 | 4622 | 3592 | 2397.4 | 1321.2 | 2897 | 2231.1 | 966.7 | 2114.04 | 9870 | 1148.2 | [7 empty] | 78547.65 | 3415.1152
Aug | 2018 | 2018-08-27 | 0 | 1242 | 2867.18 | 762 | 11263.33 | 10445 | 2615 | 0 | 0 | 2163.69 | 8442 | 8443 | 4965 | 3318.56 | 2191.8 | 1103.6 | 2299 | 2241.9 | 580.3 | 2239.36 | 11570 | 1282 | [7 empty] | 80034.72 | 3479.7704
Aug | 2018 | 2018-08-28 | 0 | 1423 | 1412.15 | 0 | 10694.36 | 10988 | 3061.9 | 0 | 0 | 2240 | 8578 | 8579 | 6010 | 3114.69 | 2854.1 | 1361.9 | 2696 | 2521.2 | 1204.4 | 2570.44 | 13007 | 1393.6 | [7 empty] | 83709.74 | 3639.5539
Aug | 2018 | 2018-08-29 | 0 | 1341 | 0 | 0 | 10897.19 | 12132 | 2909.9 | 0 | 0 | 2030.37 | 8689 | 8690 | 4748 | 4020.71 | 5099.5 | 1323.4 | 3371 | 2066.7 | 1220.6 | 3978.02 | 11317 | 1332.8 | [7 empty] | 85167.19 | 3702.9213
Aug | 2018 | 2018-08-30 | 0 | 1416 | 647.64 | 0 | 10960.6 | 13816 | 2514.7 | 0 | 0 | 2058 | 7003 | 7004 | 5116 | 3152.91 | 2702.1 | 1323 | 3119 | 4288.5 | 1176.3 | 3759.78 | 8687 | 983.2 | [7 empty] | 79727.73 | 3466.423
Aug | 2018 | 2018-08-31 | 0 | 1708 | 2867.65 | 520.44 | 10340.92 | 13456 | 2105.8 | 0 | 0 | 2250.75 | 7942 | 7943 | 4863 | 3333.22 | 2183.1 | 1346.8 | 3376 | 2099.2 | 1322.1 | 1973.79 | 9715 | 997.6 | [7 empty] | 80344.37 | 3493.2335
Sep | 2018 | 2018-09-01 | 0 | 985 | 2792.18 | 2014.5 | 5572.02 | 12082 | 2273.3 | 0 | 0 | 3060.88 | 7871 | 7872 | 4722 | 3100.07 | 2232.4 | 1350.8 | 3182 | 2118.5 | 1461.4 | 1921.75 | 8243 | 996.6 | [7 empty] | 73851.4 | 3210.9304
Sep | 2018 | 2018-09-02 | 0 | 0 | 2752.23 | 1789.19 | 10917.87 | 11219 | 2226.4 | 0 | 0 | 2521.88 | 7245 | 7246 | 4679 | 2749.24 | 1913.5 | 1330.5 | 3231 | 1948.7 | 940.6 | 2115.65 | 7470 | 938.9 | [7 empty] | 73234.66 | 3184.1157
Sep | 2018 | 2018-09-03 | 0 | 0 | 2888.63 | 1632.56 | 9962.41 | 13028 | 2418.8 | 0 | 0 | 2973.68 | 8678 | 8679 | 5866 | 2650.98 | 1826.4 | 1333.1 | 2891 | 722.9 | 1631 | 2246.1 | 9763 | 417.3 | [7 empty] | 79608.86 | 3461.2548
Sep | 2018 | 2018-09-04 | 0 | 0 | 2274.43 | 1547.37 | 8746.84 | 7260 | 2239 | 0 | 0 | 2229.75 | 8184 | 8185 | 3733 | 1859.19 | 1452.7 | 758 | 2579 | 1829.8 | 705.4 | 1768.16 | 10750 | 0 | [7 empty] | 66101.64 | 2873.9843
Sep | 2018 | 2018-09-05 | 0 | 0 | 2776.19 | 1788.88 | 11658.53 | 9504 | 2720.1 | 0 | 0 | 3094.25 | 9128 | 9129 | 5407 | 2828.69 | 489.5 | 1170.7 | 3017 | 2219.9 | 499.6 | 1959.81 | 9736 | 260.2 | [7 empty] | 77387.35 | 3364.6674
Sep | 2018 | 2018-09-06 | 0 | 230 | 2736.38 | 1599.44 | 10293.6 | 8832 | 2273.7 | 0 | 0 | 2057.32 | 8518 | 8519 | 5356 | 2246 | 2013.3 | 1119.2 | 2800 | 2126 | 1118.5 | 1947.8 | 9479 | 913.8 | [7 empty] | 74179.04 | 3225.1757
Sep | 2018 | 2018-09-07 | 0 | 292 | 2874.11 | 675.31 | 8625.9 | 7907 | 2744.3 | 0 | 0 | 1171.5 | 9139 | 9140 | 5743 | 1829.71 | 2892.4 | 1289.3 | 2242 | 2250.2 | 1146.7 | 1911 | 9650 | 800.5 | [7 empty] | 72323.93 | 3144.5187
Sep | 2018 | 2018-09-08 | 0 | 1367 | 2796.35 | 2348.94 | 8615.12 | 7909 | 2263.9 | 0 | 0 | 2180 | 8967 | 8968 | 5188 | 2684.81 | 2638.7 | 1245 | 2641 | 2214.7 | 886.3 | 2191.42 | 9985 | 216.9 | [7 empty] | 75307.14 | 3274.2235
Sep | 2018 | 2018-09-09 | 0 | 0 | 2808.12 | 1877.93 | 8117.62 | 8772 | 2713.9 | 0 | 0 | 1990 | 9004 | 9005 | 4955 | 2640.6 | 1929.4 | 1299.4 | 2681 | 1762 | 1103 | 2324.52 | 10210 | 0 | [7 empty] | 73193.49 | 3182.3257
Sep | 2018 | 2018-09-10 | 0 | 0 | 2837.73 | 1357.82 | 9494.43 | 9195 | 2632.4 | 0 | 0 | 2020 | 9221 | 9222 | 5163 | 2626.83 | 2299.6 | 1313 | 2598 | 2211.8 | 650 | 2303.68 | 7505 | 429.3 | [7 empty] | 73080.59 | 3177.417
Sep | 2018 | 2018-09-11 | 0 | 0 | 3409.94 | 1318.62 | 8492.57 | 11163 | 2656.9 | 0 | 0 | 1840 | 9161 | 9162 | 5455 | 3086.25 | 1113.9 | 818.1 | 2930 | 2240.3 | 1220.5 | 2331.85 | 10038 | 1025.9 | [7 empty] | 77463.83 | 3367.9926
Sep | 2018 | 2018-09-12 | 0 | 583 | 2979.79 | 2438 | 9492.48 | 12723 | 2826.1 | 0 | 0 | 1790 | 9190 | 9191 | 5465 | 3367.16 | 2492.4 | 1268.6 | 3281 | 2250 | 925.3 | 2551.53 | 9210 | 1280.8 | [7 empty] | 83305.16 | 3621.9635
Sep | 2018 | 2018-09-13 | 0 | 1289 | 1115.18 | 1807.75 | 8873.3 | 11653 | 2468 | 0 | 0 | 2639 | 9143 | 9144 | 5416 | 2685.88 | 1448 | 1268.5 | 3238 | 2501.3 | 454.1 | 2782.72 | 10200 | 1307 | [7 empty] | 79433.73 | 3453.6404
Sep | 2018 | 2018-09-14 | 0 | 1448 | 3229.86 | 2096.43 | 7788.02 | 11331 | 2718.8 | 0 | 0 | 2342.12 | 9325 | 9326 | 5737 | 3246.59 | 1761.08 | 1273.7 | 3171 | 2297 | 773 | 2852.47 | 10523 | 1192.4 | [7 empty] | 82432.47 | 3584.0204
Sep | 2018 | 2018-09-15 | 0 | 1403 | 3565.71 | 2135.45 | 9209.41 | 10679 | 2398.3 | 0 | 0 | 2330 | 9187 | 9188 | 5088 | 3614.53 | 2791.3 | 952.5 | 3038 | 1969.5 | 1096 | 2600.4 | 10528 | 1223.2 | [7 empty] | 82997.3 | 3608.5783
Sep | 2018 | 2018-09-16 | 0 | 1390 | 2915.77 | 1911.5 | 8239.93 | 9190 | 2151 | 0 | 0 | 2484.06 | 8339 | 8340 | 5248 | 2621.97 | 2550.1 | 1185.5 | 3051 | 2082.8 | 1118.4 | 2210.6 | 10251 | 1107.2 | [7 empty] | 76387.83 | 3321.21
Sep | 2018 | 2018-09-17 | 0 | 407 | 2664.1 | 2259.91 | 8897.72 | 10022 | 2763.23 | 0 | 0 | 2758.62 | 8823 | 8824 | 5769 | 2301.41 | 3575.4 | 1209.7 | 3053 | 2238.1 | 1117.8 | 2994.02 | 6867 | 1288.3 | [7 empty] | 77833.31 | 3384.057
Sep | 2018 | 2018-09-18 | 0 | 0 | 2817.94 | 2489.96 | 8739.47 | 10899 | 2666.1 | 0 | 0 | 2358.88 | 8607 | 8608 | 4011 | 2348.4 | 2372.7 | 591.2 | 3113 | 2203.7 | 1041.2 | 3940.09 | 7536 | 1091.6 | [7 empty] | 75435.24 | 3279.793
Sep | 2018 | 2018-09-19 | 0 | 76 | 3250.11 | 2509.5 | 9290.47 | 12525 | 2936.4 | 0 | 0 | 2130.99 | 8763 | 8764 | 4717 | 2448.88 | 3047.8 | 0 | 2999 | 2244 | 1089.7 | 3977.64 | 10295 | 1220.3 | [7 empty] | 82284.79 | 3577.5996
Sep | 2018 | 2018-09-20 | 0 | 1227 | 3022.45 | 1746.69 | 8092.07 | 6432 | 2576.7 | 0 | 0 | 2138.95 | 7060 | 7061 | 4048 | 1985.53 | 2857.1 | 130.9 | 1959 | 1550.5 | 810.4 | 3270.96 | 9150 | 748.4 | [7 empty] | 65867.65 | 2863.8109
Sep | 2018 | 2018-09-21 | 0 | 1559 | 5671.13 | 930.13 | 8131.94 | 7379 | 2759.3 | 0 | 0 | 2541.38 | 8970 | 8971 | 5045 | 3316.88 | 3471.3 | 612.2 | 3132 | 2231.9 | 1183.5 | 2509.12 | 10484 | 1087.7 | [7 empty] | 79986.48 | 3477.673
Sep | 2018 | 2018-09-22 | 0 | 1532 | 3004.43 | 1641.31 | 7991.25 | 9864 | 2091.8 | 0 | 0 | 2150 | 8872 | 8873 | 2195 | 2904.02 | 2114.6 | 1033.3 | 2835 | 2156.5 | 859.5 | 2689.1 | 10602 | 1361.1 | [7 empty] | 74769.91 | 3250.8657
Sep | 2018 | 2018-09-23 | 0 | 467 | 2812.48 | 1107 | 7496.8 | 9646 | 2204.4 | 456.19 | 0 | 2230 | 8451 | 8452 | 3723 | 2641.19 | 1840.5 | 1212.9 | 2858 | 2126.8 | 805 | 2426.39 | 9813 | 1034.2 | [7 empty] | 71803.85 | 3121.9065
Sep | 2018 | 2018-09-24 | 0 | 1336 | 3360.89 | 2020 | 8209.38 | 9696 | 1741.6 | 1175.1 | 0 | 2423.5 | 8917 | 8918 | 3749 | 2253.29 | 2327.1 | 1140.2 | 2586 | 2173.5 | 522.7 | 2500.99 | 10234 | 1090.6 | [7 empty] | 76374.85 | 3320.6457
Sep | 2018 | 2018-09-25 | 0 | 578 | 3298.12 | 1669.06 | 7936.98 | 8886 | 2448.2 | 0 | 0 | 2170 | 9032 | 9033 | 5077 | 3617.12 | 1922 | 971 | 3143 | 1959.8 | 1136.2 | 2681.75 | 10592 | 808.7 | [7 empty] | 76959.93 | 3346.0839
Sep | 2018 | 2018-09-26 | 0 | 0 | 3544.34 | 2100.52 | 8917.03 | 10297 | 2724.9 | 1433.83 | 0 | 2160 | 7748 | 7749 | 5854 | 3560.38 | 2107 | 1243.9 | 3374 | 1560.8 | 1107.2 | 2308.38 | 10574 | 1175 | [7 empty] | 79539.28 | 3458.2296
Sep | 2018 | 2018-09-27 | 0 | 0 | 2846.43 | 2054.37 | 8048.8 | 11195 | 2737.5 | 1779.6 | 0 | 1940 | 8656 | 8657 | 5111 | 3054.87 | 2410.2 | 1197.4 | 3120 | 2212.4 | 1134.2 | 2600.1 | 10510 | 1129.6 | [7 empty] | 80394.47 | 3495.4117
Sep | 2018 | 2018-09-28 | 0 | 0 | 2710.62 | 2068.19 | 8781.61 | 10381 | 2349.9 | 1667.26 | 0 | 2240 | 8584 | 8585 | 4994 | 3087.31 | 2192.1 | 1229.6 | 2815 | 2174.8 | 1121.7 | 2567 | 10358 | 1190.2 | [7 empty] | 79097.29 | 3439.0126
Sep | 2018 | 2018-09-29 | 0 | 0 | 2758.05 | 2082.81 | 9080.72 | 11805 | 2332.5 | 1559.29 | 0 | 2230 | 9024 | 9025 | 5086 | 3201.01 | 2269.7 | 1252.6 | 3174 | 2170.5 | 1126.2 | 2529.39 | 10334 | 1237 | [7 empty] | 82277.77 | 3577.2943
Sep | 2018 | 2018-09-30 | 0 | 0 | 2645.94 | 1795 | 8294.78 | 13910 | 2664.9 | 1635.25 | 0 | 2060 | 8984 | 8985 | 4751 | 2913.83 | 2175.5 | 1343 | 2976 | 2075.8 | 1123.2 | 3105.14 | 10468 | 1446.2 | [7 empty] | 83352.54 | 3624.0235

## Thermal Generation
|  |  | AES | AFAM IV-V | AFAM VI | ALAOJI NIPP | DELTA | EGBIN | GEREGU |  | GEREGU NIPP | IHOVBOR NIPP | 12 | 13 | OKPAI | OLORUNSOGO | OLORUNSOGO NIPP | OMOKU | OMOTOSHO | OMOTOSHO NIPP | RIVERS IPP | SAPELE | 22 | SHIRORO | 24 | 25 | 26 |  | 27 | 28
| SUMIFS(MainData!M:M,MainData!E:E,"GENERATION - SITE - INSTALLED AVAILABLE CAPACITY MW",MainData!F:F,$A425) |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 11 | JEBBA | KAINJI | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | SHIRORO | 23 | ASCO | GBARAIN | ODUKPANI | PARAS | PARAS ENERGY | RIVERS IPP | AZURA - EDO IPP
|  |  | AES | AFAM IV-V | AFAM VI | ALAOJI NIPP | DELTA | EGBIN | GEREGU | IBOM POWER | GEREGU NIPP | IHOVBOR NIPP | HYDRO | HYDRO | OKPAI | OLORUNSOGO | OLORUNSOGO NIPP | OMOKU | OMOTOSHO | OMOTOSHO NIPP | SAPELE | SAPELE NIPP | HYDRO | TRANS AMADI | GAS | GAS | GAS |  | GAS | GAS | GAS
|  |  | GAS | GAS | GAS | GAS | GAS | GAS / STEAM | GAS | GAS | GAS | GAS | HYDRO | HYDRO | GAS | GAS | GAS | GAS | GAS | GAS | GAS / STEAM | GAS | HYDRO | GAS | THERMAL | THERMAL | THERMAL |  | THERMAL | THERMAL | THERMAL
|  |  | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | FGN | FGN | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | THERMAL | FGN | THERMAL | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A | IPP-A
|  | Event Date | IPP-A | FGN | IoC | NIPP | FGN | FGN | FGN | IPP-A | NIPP | NIPP | 3740 | 3276 | IoC | FGN | NIPP | IPP-A | FGN | NIPP | FGN | NIPP | 3880 | IPP-A
Jul | 2018 | 2018-07-01 | 0 | 811 | 3406.12 | 0 | 10550.53 | 11254 | 4138.8 | 1710.43 | 2120.63 | 2100 | 3768 | 3242 | 3215 | 3677.03 | 0 | 1797.5 | 3448 | 2190.6 | 593.6 | 4049.06 | 4786 | 1152.4
Jul | 2018 | 2018-07-02 | 0 | 815 | 2411.6 | 0 | 12731.63 | 11795 | 4993.9 | 1438.6 | 2522.49 | 2170 | 4039 | 3693 | 5323 | 3012.54 | 0 | 1699.2 | 3362 | 2209.2 | 805.3 | 2693.39 | 6163 | 1176.5
Jul | 2018 | 2018-07-03 | 0 | 0 | 4405.58 | 0 | 11179.31 | 14201 | 5418 | 1422.47 | 2801.63 | 2370 | 4005 | 3460 | 5633 | 3919.4 | 0 | 1534.2 | 4142 | 3225.6 | 856.3 | 3420.59 | 7784 | 1056.2
Jul | 2018 | 2018-07-04 | 0 | 116 | 5726.08 | 0 | 13008.27 | 12946 | 3700.1 | 1542.61 | 2844.25 | 2330 | 3547 | 3460 | 5543 | 3747.87 | 0 | 1168.5 | 3380 | 4627.7 | 1015.8 | 4225.24 | 7606 | 1048
Jul | 2018 | 2018-07-05 | 0 | 1824 | 3083.71 | 0 | 12049.52 | 12366 | 3255.6 | 1880.63 | 2741.38 | 2140 | 2977 | 2976 | 5343 | 3436.51 | 0 | 1233.6 | 3261 | 4564.4 | 1045.5 | 3197.43 | 7751 | 1061.8
Jul | 2018 | 2018-07-06 | 0 | 1781 | 2950.1 | 0 | 12787.29 | 12937 | 4355.2 | 2064.05 | 2760.62 | 2180 | 2671 | 2833 | 5490 | 3299.91 | 0 | 1735.2 | 3624 | 4667.5 | 1056.6 | 4113.28 | 5769 | 1106
Jul | 2018 | 2018-07-07 | 0 | 1799 | 2767.84 | 0 | 11049.45 | 12943 | 3931.1 | 1870.24 | 2663.13 | 2120 | 2868 | 1811 | 4323 | 3459.69 | 0 | 1678 | 3338 | 4380.8 | 795.1 | 4110.64 | 6360 | 1218.7
Jul | 2018 | 2018-07-08 | 0 | 1314 | 2289.8 | 0 | 9514.84 | 7583 | 1916.1 | 1448.71 | 2097.62 | 1730 | 3824 | 3116 | 3028 | 2357.21 | 436.1 | 1476.3 | 2588 | 2999.3 | 565 | 2831.79 | 7728 | 1084
Jul | 2018 | 2018-07-09 | 0 | 938 | 2289.8 | 0 | 12248.64 | 13493 | 3630.5 | 1924.93 | 2793.75 | 2150 | 3461 | 3493 | 3199 | 3924.67 | 3930.4 | 1864 | 4096 | 4638.6 | 0 | 4339.94 | 6752 | 991.8
Jul | 2018 | 2018-07-10 | 0 | 1788 | 2289.8 | 0 | 12153.14 | 14119 | 4481.3 | 1926.67 | 2111.63 | 3935.56 | 4252 | 3641 | 3826 | 3174.62 | 3829.1 | 1886.2 | 3280 | 4455.4 | 0 | 3862.59 | 9962 | 974.3
Jul | 2018 | 2018-07-11 | 0 | 1777 | 2289.8 | 0 | 11086.06 | 13457 | 5322.1 | 2035.67 | 2789.37 | 4080 | 4647 | 3778 | 4884 | 3120.62 | 2324.9 | 1863.7 | 3482 | 4402.8 | 0 | 3035.5 | 8497 | 977.9
Jul | 2018 | 2018-07-12 | 0 | 1779 | 2289.8 | 0 | 11748.48 | 14867 | 5153.9 | 229.83 | 2893 | 2250 | 4374 | 3627 | 5444 | 2828.19 | 2481.1 | 1882.7 | 3224 | 4665 | 0 | 3902.2 | 9246 | 970.8
Jul | 2018 | 2018-07-13 | 0 | 1806 | 2289.8 | 0 | 10946.33 | 15244 | 4782 | 0 | 2878.72 | 2070 | 3368 | 3705 | 5240 | 3344.9 | 2310.7 | 1685.7 | 3263 | 3599.5 | 0 | 3671.47 | 9010 | 847.3
Jul | 2018 | 2018-07-14 | 0 | 1722 | 2289.8 | 0 | 12308.45 | 13730 | 4301.6 | 1667.54 | 2723 | 2290 | 2433 | 3528 | 5352 | 3057.72 | 0 | 1575.1 | 2774 | 4595.3 | 626 | 2862.73 | 8062 | 934
Jul | 2018 | 2018-07-15 | 0 | 1288 | 2289.8 | 0 | 10678.07 | 15712 | 5436.5 | 1871.32 | 2699.88 | 2220 | 2938 | 3726 | 5186 | 3369.09 | 1191.6 | 1758.1 | 2817 | 4477.4 | 985.2 | 3945.67 | 8827 | 954.9
Jul | 2018 | 2018-07-16 | 0 | 1789 | 2289.8 | 0 | 11789.07 | 12281 | 3877.8 | 2076.59 | 2735.75 | 2270 | 3653 | 4044 | 4822 | 2754.79 | 2426.7 | 1651.3 | 2970 | 2348 | 718.3 | 2931.89 | 7433 | 1132.9
Jul | 2018 | 2018-07-17 | 0 | 1753 | 2289.8 | 0 | 10969.69 | 14059 | 4694.7 | 1931.6 | 2284.12 | 2090 | 4151 | 4137 | 5259 | 2735.78 | 2491.6 | 1275.7 | 3007 | 2446.9 | 1137.8 | 2583.43 | 9257 | 1096.8
Jul | 2018 | 2018-07-18 | 0 | 1533 | 2289.8 | 0 | 10772.62 | 14590 | 4643.4 | 1496.51 | 2758.13 | 2170 | 4681 | 4178 | 5077 | 2775.29 | 2406.4 | 1213.2 | 2986 | 4353.5 | 902.8 | 3078.08 | 7356 | 1334.2
Jul | 2018 | 2018-07-19 | 0 | 1567 | 2289.8 | 0 | 11578.79 | 13354 | 4526.6 | 870.44 | 3103.26 | 2170 | 4554 | 3897 | 5404 | 2931.62 | 920.7 | 1455 | 3014 | 4536.4 | 990.7 | 3992.24 | 6405 | 1340.8
Jul | 2018 | 2018-07-20 | 0 | 1501 | 2289.8 | 0 | 10895.58 | 13419 | 4322.4 | 112.4 | 2769.99 | 2140 | 5008 | 4506 | 5077 | 2974 | 0 | 1735.6 | 2894 | 2423.8 | 1175.1 | 3921.73 | 2932 | 1427.1
Jul | 2018 | 2018-07-21 | 0 | 1555 | 2289.8 | 0 | 10494.89 | 14009 | 4246.7 | 539.69 | 2245 | 2230 | 4196 | 4274 | 5239 | 2802.69 | 0 | 1777.6 | 2968 | 2240.2 | 1182.1 | 4107.99 | 7806 | 1403
Jul | 2018 | 2018-07-22 | 0 | 1523 | 2289.8 | 0 | 11731.12 | 13626 | 3004.3 | 1822 | 2921.13 | 2200 | 4199 | 4360 | 5273 | 3284.4 | 648.9 | 1822.8 | 3282 | 2253 | 966.3 | 2527.54 | 7846 | 1428.6
Jul | 2018 | 2018-07-23 | 0 | 1541 | 2289.8 | 0 | 11512 | 14491 | 3558.5 | 1779.62 | 2893.25 | 2090 | 4448 | 4247 | 5066 | 3177.1 | 2580.8 | 1682.3 | 3003 | 2285.8 | 872.5 | 2482.65 | 7801 | 1404.5
Jul | 2018 | 2018-07-24 | 0 | 1557 | 2289.8 | 0 | 11232.23 | 15723 | 3401.5 | 1779.69 | 2892.5 | 2140 | 4731 | 4064 | 6681 | 3428.4 | 2569.9 | 1882.5 | 3268 | 2342.9 | 1047.6 | 2032 | 8178 | 1538.7
Jul | 2018 | 2018-07-25 | 0 | 1526 | 2289.8 | 0 | 10899.13 | 14973 | 3008.4 | 1703.78 | 2857.25 | 2133.75 | 4418 | 4670 | 5867 | 3672.29 | 2601 | 1853.7 | 2903 | 2069 | 1091 | 2006.38 | 8547 | 1360
Jul | 2018 | 2018-07-26 | 0 | 1481 | 2289.8 | 0 | 11252 | 14610 | 3062.7 | 1783.65 | 2878.62 | 2185.07 | 4342 | 4793 | 5658 | 3302.21 | 1979.7 | 1571 | 2902 | 2126.9 | 1094.6 | 2528.81 | 7148 | 1418.4
Jul | 2018 | 2018-07-27 | 0 | 1466 | 2289.8 | 0 | 10771.96 | 14068 | 2937.3 | 1874.25 | 2840.88 | 2035.93 | 4658 | 4097 | 6238 | 3324.19 | 2079.6 | 1476.7 | 2892 | 2299.7 | 1139.7 | 2363.68 | 6587 | 1269.1
Jul | 2018 | 2018-07-28 | 0 | 1470 | 2289.8 | 0 | 10254.06 | 13748 | 2216.3 | 1835.31 | 2786.5 | 2137.57 | 3404 | 4240 | 7384 | 2941.1 | 1895 | 1638.1 | 2901 | 2232.9 | 1141.2 | 2067.61 | 5351 | 1493.2
Jul | 2018 | 2018-07-29 | 0 | 1475 | 2289.8 | 0 | 10723.07 | 13021 | 2680.6 | 1794.12 | 1967.64 | 2181 | 5397 | 4737 | 6636 | 3080 | 420.1 | 1554.5 | 2874 | 2224.3 | 1145.6 | 2061.47 | 7509 | 1565.3
Jul | 2018 | 2018-07-30 | 0 | 1450 | 2289.8 | 0 | 12119.07 | 12759 | 1312 | 1663.06 | 1331.13 | 2206.5 | 4986 | 5267 | 6788 | 3060 | 2446.3 | 1304.2 | 2974 | 2287.2 | 1136.1 | 2114.89 | 8051 | 1480.5
Jul | 2018 | 2018-07-31 | 0 | 1470 | 2289.8 | 0 | 10372.6 | 13938 | 4580.1 | 1839.49 | 2823.62 | 2170.42 | 7400 | 5402 | 6476 | 3070 | 2339.6 | 1182 | 2069 | 2287.7 | 1136.3 | 2420.35 | 8942 | 1464.8
Aug | 2018 | 2018-08-01 | 0 | 679 | 2289.8 | 321.56 | 11358.42 | 11728 | 4497.1 | 1900.07 | 2874.76 | 2127.01 | 7658 | 6253 | 6608 | 3089.43 | 1723.4 | 1326.3 | 2530 | 2274.9 | 946.9 | 2502.53 | 9879 | 1514.2
Aug | 2018 | 2018-08-02 | 0 | 439 | 2289.8 | 1995.44 | 10140.66 | 12514 | 2812.5 | 1936.68 | 2385.25 | 2088.88 | 6267 | 6868 | 6572 | 3055.07 | 377.1 | 1209 | 2595 | 2213.8 | 724.9 | 3896.84 | 10160 | 1257.2
Aug | 2018 | 2018-08-03 | 0 | 1294 | 2289.8 | 9.88 | 10365.44 | 11450 | 3175.5 | 1959.89 | 2775.25 | 2248.12 | 6129 | 5796 | 6635 | 3146.81 | 227.9 | 1335.3 | 2958 | 2202.7 | 1231.9 | 2279.74 | 8295 | 1264.4
Aug | 2018 | 2018-08-04 | 0 | 792 | 2289.8 | 310.81 | 11329.21 | 11671 | 3553.4 | 1845.4 | 2814.25 | 2173.38 | 6687 | 5650 | 6917 | 3140.62 | 932.9 | 1315 | 3166 | 2275.2 | 801.3 | 2255.55 | 7218 | 1443
Aug | 2018 | 2018-08-05 | 0 | 306 | 2289.8 | 1960.56 | 10300.93 | 11250 | 2856.1 | 1758.08 | 2740.24 | 2257.12 | 7129 | 6650 | 6442 | 3567.88 | 2577.8 | 1284.9 | 3463 | 2264.7 | 140.4 | 2294.88 | 8502 | 1454
Aug | 2018 | 2018-08-06 | 0 | 1468 | 2289.8 | 2031.94 | 12316.95 | 11236 | 459 | 1607.6 | 478.26 | 2186.69 | 7264 | 7022 | 6845 | 3430.69 | 2991.5 | 1336.5 | 3339 | 2182.4 | 718.9 | 2264.79 | 10613 | 558
Aug | 2018 | 2018-08-07 | 0 | 1186 | 2289.8 | 2031.19 | 12120.01 | 12469 | 0 | 1619.65 | 0 | 3004.38 | 7643 | 7450 | 2144 | 3406.21 | 3522.4 | 1237.9 | 3232 | 3225.9 | 0 | 2744.13 | 7958 | 0
Aug | 2018 | 2018-08-08 | 0 | 1073 | 2289.8 | 2028.81 | 12530.3 | 12240 | 0 | 102.03 | 0 | 3911.43 | 8113 | 6856 | 4111 | 3350.81 | 3101.8 | 986.9 | 3284 | 4757.9 | 0 | 3932.83 | 10376 | 0
Aug | 2018 | 2018-08-09 | 0 | 59 | 2289.8 | 2030.9 | 12271.08 | 12941 | 0 | 0 | 0 | 3685.05 | 8372 | 6841 | 5221 | 4024.5 | 3122.1 | 1297.6 | 2984 | 2654.3 | 627.2 | 3732.8 | 11857 | 0
Aug | 2018 | 2018-08-10 | 0 | 366 | 2289.8 | 2302.1 | 12692.21 | 10224 | 0 | 0 | 0 | 2609.81 | 6870 | 6922 | 3868 | 2837.81 | 2050.9 | 1299.2 | 2717 | 2017.7 | 1000.5 | 3174.9 | 6408 | 0
Aug | 2018 | 2018-08-11 | 0 | 1329 | 2289.8 | 2381 | 10781.4 | 13903 | 0 | 0 | 0 | 4285.63 | 6363 | 5836 | 4470 | 3001.41 | 2369.3 | 1105.1 | 3051 | 2259.3 | 990.9 | 3973.04 | 6201 | 523.5
Aug | 2018 | 2018-08-12 | 0 | 1442 | 2289.8 | 2031 | 11398.43 | 12693 | 0 | 0 | 0 | 4094.62 | 6581 | 6666 | 6539 | 2950.96 | 2065.5 | 834.3 | 3069 | 2210.6 | 889.2 | 3745.34 | 6836 | 713.1
Aug | 2018 | 2018-08-13 | 0 | 1461 | 2289.8 | 2029.19 | 12085.02 | 10076 | 24.8 | 0 | 0 | 2545.31 | 7851 | 6911 | 5699 | 2831.09 | 2192 | 1298.7 | 2969 | 2300.4 | 211.9 | 2536.3 | 12708 | 1401.1
Aug | 2018 | 2018-08-14 | 0 | 1154 | 2289.8 | 2155.68 | 11263.4 | 9907 | 0 | 0 | 0 | 2090.19 | 8403 | 7164 | 5601 | 2855.65 | 2660.1 | 1287.6 | 3008 | 2298.4 | 756.5 | 2615.06 | 11383 | 1535.4
Aug | 2018 | 2018-08-15 | 0 | 788 | 2289.8 | 2223.5 | 12151.5 | 11164 | 0 | 0 | 0 | 2180.5 | 8341 | 7332 | 6270 | 3119.86 | 3398.5 | 1269.2 | 3055 | 2348.6 | 1044.6 | 2746.1 | 11423 | 1266.8
Aug | 2018 | 2018-08-16 | 0 | 1451 | 2289.8 | 2679.94 | 12287.38 | 10945 | 610 | 0 | 0 | 3236.19 | 6964 | 7431 | 6567 | 3633.05 | 4117.9 | 1317.3 | 3287 | 2351.4 | 1106 | 4138.51 | 7546 | 1369.6
Aug | 2018 | 2018-08-17 | 0 | 1470 | 2289.8 | 2041.19 | 11712.65 | 10873 | 2315.5 | 0 | 0 | 3546.19 | 6216 | 7226 | 6549 | 3838.69 | 3180.2 | 1348.3 | 4162 | 2323.9 | 707.7 | 2614.41 | 7747 | 1533.4
Aug | 2018 | 2018-08-18 | 0 | 1566 | 2289.8 | 1958.56 | 10080.87 | 10890 | 2783.9 | 0 | 0 | 2246.5 | 6631 | 7327 | 5756 | 3530.4 | 4741.1 | 1566.7 | 3394 | 2232.2 | 1091.2 | 2146.84 | 7827 | 1519.9
Aug | 2018 | 2018-08-19 | 0 | 1398 | 2289.8 | 1959.63 | 10198.54 | 10842 | 2969.8 | 0 | 0 | 2184.43 | 7238 | 6863 | 5674 | 3268.41 | 3135.1 | 1732.4 | 3626 | 2297.7 | 663.8 | 1995.89 | 7377 | 1372
Aug | 2018 | 2018-08-20 | 0 | 1431 | 2289.8 | 1713.87 | 9184.2 | 10459 | 2520.9 | 0 | 0 | 2200.07 | 7011 | 7093 | 5992 | 3291.75 | 3931.8 | 1567.3 | 3135 | 2311.2 | 1100.3 | 2084.34 | 8804 | 1316
Aug | 2018 | 2018-08-21 | 0 | 1485 | 2289.8 | 1306.87 | 10591.13 | 11341 | 2545.1 | 0 | 0 | 2192.93 | 6836 | 6931 | 4982 | 2975.63 | 4697.8 | 240.8 | 3755 | 2307.5 | 878.6 | 2039.59 | 8250 | 324.4
Aug | 2018 | 2018-08-22 | 0 | 1500 | 2289.8 | 2130 | 12396.1 | 12401 | 2202.3 | 0 | 0 | 2024 | 8242 | 6552 | 5083 | 3220 | 2558.2 | 883.2 | 4151 | 2315.3 | 974.2 | 2084.66 | 7675 | 1004.4
Aug | 2018 | 2018-08-23 | 0 | 1487 | 2289.8 | 2011 | 11725.3 | 12662 | 2178.2 | 0 | 0 | 2335.75 | 9207 | 5871 | 5958 | 3169.38 | 2467 | 1032.7 | 3806 | 2334.9 | 1205.4 | 2071.24 | 9153 | 1145.8
Aug | 2018 | 2018-08-24 | 0 | 1463 | 2289.8 | 594.01 | 11980.6 | 8729 | 2360.4 | 0 | 0 | 2144 | 8871 | 4965 | 5164 | 3706.81 | 2672 | 588.4 | 3670 | 2289.8 | 1275.7 | 1968.17 | 8225 | 841
Aug | 2018 | 2018-08-25 | 0 | 1292 | 2289.8 | 2055.12 | 9993.52 | 10126 | 2360 | 0 | 0 | 2029.25 | 8123 | 5979 | 5031 | 3864.31 | 2426.7 | 1181.4 | 3090 | 2261.6 | 203.4 | 2001.44 | 9870 | 1421.5
Aug | 2018 | 2018-08-26 | 0 | 878 | 2289.8 | 2189.5 | 9537.82 | 10675 | 2926.6 | 0 | 0 | 2115.19 | 8442 | 5931 | 4622 | 3592 | 2397.4 | 1321.2 | 2897 | 2231.1 | 966.7 | 2114.04 | 11570 | 1148.2
Aug | 2018 | 2018-08-27 | 0 | 1242 | 2289.8 | 762 | 11263.33 | 10445 | 2615 | 0 | 0 | 2163.69 | 8578 | 6043 | 4965 | 3318.56 | 2191.8 | 1103.6 | 2299 | 2241.9 | 580.3 | 2239.36 | 13007 | 1282
Aug | 2018 | 2018-08-28 | 0 | 1423 | 2289.8 | 0 | 10694.36 | 10988 | 3061.9 | 0 | 0 | 2240 | 8689 | 6510 | 6010 | 3114.69 | 2854.1 | 1361.9 | 2696 | 2521.2 | 1204.4 | 2570.44 | 11317 | 1393.6
Aug | 2018 | 2018-08-29 | 0 | 1341 | 2289.8 | 0 | 10897.19 | 12132 | 2909.9 | 0 | 0 | 2030.37 | 7003 | 7415 | 4748 | 4020.71 | 5099.5 | 1323.4 | 3371 | 2066.7 | 1220.6 | 3978.02 | 8687 | 1332.8
Aug | 2018 | 2018-08-30 | 0 | 1416 | 2289.8 | 0 | 10960.6 | 13816 | 2514.7 | 0 | 0 | 2058 | 7942 | 7271 | 5116 | 3152.91 | 2702.1 | 1323 | 3119 | 4288.5 | 1176.3 | 3759.78 | 9715 | 983.2
Aug | 2018 | 2018-08-31 | 0 | 1708 | 2289.8 | 520.44 | 10340.92 | 13456 | 2105.8 | 0 | 0 | 2250.75 | 7871 | 6944 | 4863 | 3333.22 | 2183.1 | 1346.8 | 3376 | 2099.2 | 1322.1 | 1973.79 | 8243 | 997.6
Sep | 2018 | 2018-09-01 | 0 | 985 | 2289.8 | 2014.5 | 5572.02 | 12082 | 2273.3 | 0 | 0 | 3060.88 | 7245 | 6927 | 4722 | 3100.07 | 2232.4 | 1350.8 | 3182 | 2118.5 | 1461.4 | 1921.75 | 7470 | 996.6
Sep | 2018 | 2018-09-02 | 0 | 0 | 2289.8 | 1789.19 | 10917.87 | 11219 | 2226.4 | 0 | 0 | 2521.88 | 8678 | 7058 | 4679 | 2749.24 | 1913.5 | 1330.5 | 3231 | 1948.7 | 940.6 | 2115.65 | 9763 | 938.9
Sep | 2018 | 2018-09-03 | 0 | 0 | 2289.8 | 1632.56 | 9962.41 | 13028 | 2418.8 | 0 | 0 | 2973.68 | 8184 | 5754 | 5866 | 2650.98 | 1826.4 | 1333.1 | 2891 | 722.9 | 1631 | 2246.1 | 10750 | 417.3
Sep | 2018 | 2018-09-04 | 0 | 0 | 2289.8 | 1547.37 | 8746.84 | 7260 | 2239 | 0 | 0 | 2229.75 | 9128 | 7481 | 3733 | 1859.19 | 1452.7 | 758 | 2579 | 1829.8 | 705.4 | 1768.16 | 9736 | 0
Sep | 2018 | 2018-09-05 | 0 | 0 | 2289.8 | 1788.88 | 11658.53 | 9504 | 2720.1 | 0 | 0 | 3094.25 | 8518 | 7242 | 5407 | 2828.69 | 489.5 | 1170.7 | 3017 | 2219.9 | 499.6 | 1959.81 | 9479 | 260.2
Sep | 2018 | 2018-09-06 | 0 | 230 | 2289.8 | 1599.44 | 10293.6 | 8832 | 2273.7 | 0 | 0 | 2057.32 | 9139 | 7574 | 5356 | 2246 | 2013.3 | 1119.2 | 2800 | 2126 | 1118.5 | 1947.8 | 9650 | 913.8
Sep | 2018 | 2018-09-07 | 0 | 292 | 2289.8 | 675.31 | 8625.9 | 7907 | 2744.3 | 0 | 0 | 1171.5 | 8967 | 7173 | 5743 | 1829.71 | 2892.4 | 1289.3 | 2242 | 2250.2 | 1146.7 | 1911 | 9985 | 800.5
Sep | 2018 | 2018-09-08 | 0 | 1367 | 2289.8 | 2348.94 | 8615.12 | 7909 | 2263.9 | 0 | 0 | 2180 | 9004 | 7138 | 5188 | 2684.81 | 2638.7 | 1245 | 2641 | 2214.7 | 886.3 | 2191.42 | 10210 | 216.9
Sep | 2018 | 2018-09-09 | 0 | 0 | 2289.8 | 1877.93 | 8117.62 | 8772 | 2713.9 | 0 | 0 | 1990 | 9221 | 7339 | 4955 | 2640.6 | 1929.4 | 1299.4 | 2681 | 1762 | 1103 | 2324.52 | 7505 | 0
Sep | 2018 | 2018-09-10 | 0 | 0 | 2289.8 | 1357.82 | 9494.43 | 9195 | 2632.4 | 0 | 0 | 2020 | 9161 | 7137 | 5163 | 2626.83 | 2299.6 | 1313 | 2598 | 2211.8 | 650 | 2303.68 | 10038 | 429.3
Sep | 2018 | 2018-09-11 | 0 | 0 | 2289.8 | 1318.62 | 8492.57 | 11163 | 2656.9 | 0 | 0 | 1840 | 9190 | 6892 | 5455 | 3086.25 | 1113.9 | 818.1 | 2930 | 2240.3 | 1220.5 | 2331.85 | 9210 | 1025.9
Sep | 2018 | 2018-09-12 | 0 | 583 | 2289.8 | 2438 | 9492.48 | 12723 | 2826.1 | 0 | 0 | 1790 | 9143 | 7930 | 5465 | 3367.16 | 2492.4 | 1268.6 | 3281 | 2250 | 925.3 | 2551.53 | 10200 | 1280.8
Sep | 2018 | 2018-09-13 | 0 | 1289 | 2289.8 | 1807.75 | 8873.3 | 11653 | 2468 | 0 | 0 | 2639 | 9325 | 8077 | 5416 | 2685.88 | 1448 | 1268.5 | 3238 | 2501.3 | 454.1 | 2782.72 | 10523 | 1307
Sep | 2018 | 2018-09-14 | 0 | 1448 | 2289.8 | 2096.43 | 7788.02 | 11331 | 2718.8 | 0 | 0 | 2342.12 | 9187 | 8267 | 5737 | 3246.59 | 1761.08 | 1273.7 | 3171 | 2297 | 773 | 2852.47 | 10528 | 1192.4
Sep | 2018 | 2018-09-15 | 0 | 1403 | 2289.8 | 2135.45 | 9209.41 | 10679 | 2398.3 | 0 | 0 | 2330 | 8339 | 8080 | 5088 | 3614.53 | 2791.3 | 952.5 | 3038 | 1969.5 | 1096 | 2600.4 | 10251 | 1223.2
Sep | 2018 | 2018-09-16 | 0 | 1390 | 2289.8 | 1911.5 | 8239.93 | 9190 | 2151 | 0 | 0 | 2484.06 | 8823 | 8322 | 5248 | 2621.97 | 2550.1 | 1185.5 | 3051 | 2082.8 | 1118.4 | 2210.6 | 6867 | 1107.2
Sep | 2018 | 2018-09-17 | 0 | 407 | 2289.8 | 2259.91 | 8897.72 | 10022 | 2763.23 | 0 | 0 | 2758.62 | 8607 | 8340 | 5769 | 2301.41 | 3575.4 | 1209.7 | 3053 | 2238.1 | 1117.8 | 2994.02 | 7536 | 1288.3
Sep | 2018 | 2018-09-18 | 0 | 0 | 2289.8 | 2489.96 | 8739.47 | 10899 | 2666.1 | 0 | 0 | 2358.88 | 8763 | 8347 | 4011 | 2348.4 | 2372.7 | 591.2 | 3113 | 2203.7 | 1041.2 | 3940.09 | 10295 | 1091.6
Sep | 2018 | 2018-09-19 | 0 | 76 | 2289.8 | 2509.5 | 9290.47 | 12525 | 2936.4 | 0 | 0 | 2130.99 | 7060 | 6150 | 4717 | 2448.88 | 3047.8 | 0 | 2999 | 2244 | 1089.7 | 3977.64 | 9150 | 1220.3
Sep | 2018 | 2018-09-20 | 0 | 1227 | 2289.8 | 1746.69 | 8092.07 | 6432 | 2576.7 | 0 | 0 | 2138.95 |  |  | 4048 | 1985.53 | 2857.1 | 130.9 | 1959 | 1550.5 | 810.4 | 3270.96 |  | 748.4
Sep | 2018 | 2018-09-21 | 0 | 1559 | 2289.8 | 930.13 | 8131.94 | 7379 | 2759.3 | 0 | 0 | 2541.38 |  |  | 5045 | 3316.88 | 3471.3 | 612.2 | 3132 | 2231.9 | 1183.5 | 2509.12 |  | 1087.7
Sep | 2018 | 2018-09-22 | 0 | 1532 | 2289.8 | 1641.31 | 7991.25 | 9864 | 2091.8 | 0 | 0 | 2150 |  |  | 2195 | 2904.02 | 2114.6 | 1033.3 | 2835 | 2156.5 | 859.5 | 2689.1 |  | 1361.1
Sep | 2018 | 2018-09-23 | 0 | 467 | 2289.8 | 1107 | 7496.8 | 9646 | 2204.4 | 456.19 | 0 | 2230 |  |  | 3723 | 2641.19 | 1840.5 | 1212.9 | 2858 | 2126.8 | 805 | 2426.39 |  | 1034.2
Sep | 2018 | 2018-09-24 | 0 | 1336 | 2289.8 | 2020 | 8209.38 | 9696 | 1741.6 | 1175.1 | 0 | 2423.5 |  |  | 3749 | 2253.29 | 2327.1 | 1140.2 | 2586 | 2173.5 | 522.7 | 2500.99 |  | 1090.6
Sep | 2018 | 2018-09-25 | 0 | 578 | 2289.8 | 1669.06 | 7936.98 | 8886 | 2448.2 | 0 | 0 | 2170 |  |  | 5077 | 3617.12 | 1922 | 971 | 3143 | 1959.8 | 1136.2 | 2681.75 |  | 808.7
Sep | 2018 | 2018-09-26 | 0 | 0 | 2289.8 | 2100.52 | 8917.03 | 10297 | 2724.9 | 1433.83 | 0 | 2160 |  |  | 5854 | 3560.38 | 2107 | 1243.9 | 3374 | 1560.8 | 1107.2 | 2308.38 |  | 1175
Sep | 2018 | 2018-09-27 | 0 | 0 | 2289.8 | 2054.37 | 8048.8 | 11195 | 2737.5 | 1779.6 | 0 | 1940 |  |  | 5111 | 3054.87 | 2410.2 | 1197.4 | 3120 | 2212.4 | 1134.2 | 2600.1 |  | 1129.6
Sep | 2018 | 2018-09-28 | 0 | 0 | 2289.8 | 2068.19 | 8781.61 | 10381 | 2349.9 | 1667.26 | 0 | 2240 |  |  | 4994 | 3087.31 | 2192.1 | 1229.6 | 2815 | 2174.8 | 1121.7 | 2567 |  | 1190.2
Sep | 2018 | 2018-09-29 | 0 | 0 | 2289.8 | 2082.81 | 9080.72 | 11805 | 2332.5 | 1559.29 | 0 | 2230 |  |  | 5086 | 3201.01 | 2269.7 | 1252.6 | 3174 | 2170.5 | 1126.2 | 2529.39 |  | 1237
Sep | 2018 | 2018-09-30 | 0 | 0 | 2289.8 | 1795 | 8294.78 | 13910 | 2664.9 | 1635.25 | 0 | 2060 |  |  | 4751 | 2913.83 | 2175.5 | 1343 | 2976 | 2075.8 | 1123.2 | 3105.14 |  | 1446.2

## Hydro Generation
|  |  | JEBBA | KAINJI | SHIRORO
| SUMIFS(MainData!M:M,MainData!E:E,"GENERATION - SITE - INSTALLED AVAILABLE CAPACITY MW",MainData!F:F,$A425) |  | 12 | 13 | 22
|  |  | JEBBA | JEBBA | SHIRORO
|  |  | HYDRO | HYDRO | HYDRO
|  |  | HYDRO | HYDRO | HYDRO
|  | Event Date | FGN | FGN | FGN
Jul | 2018 | 2018-07-01 | 3740 | 3741 | 3880
Jul | 2018 | 2018-07-02 | 3768 | 3769 | 4786
Jul | 2018 | 2018-07-03 | 4039 | 4040 | 6163
Jul | 2018 | 2018-07-04 | 4005 | 4006 | 7784
Jul | 2018 | 2018-07-05 | 3547 | 3548 | 7606
Jul | 2018 | 2018-07-06 | 2977 | 2978 | 7751
Jul | 2018 | 2018-07-07 | 2671 | 2672 | 5769
Jul | 2018 | 2018-07-08 | 2868 | 2869 | 6360
Jul | 2018 | 2018-07-09 | 3824 | 3825 | 7728
Jul | 2018 | 2018-07-10 | 3461 | 3462 | 6752
Jul | 2018 | 2018-07-11 | 4252 | 4253 | 9962
Jul | 2018 | 2018-07-12 | 4647 | 4648 | 8497
Jul | 2018 | 2018-07-13 | 4374 | 4375 | 9246
Jul | 2018 | 2018-07-14 | 3368 | 3369 | 9010
Jul | 2018 | 2018-07-15 | 2433 | 2434 | 8062
Jul | 2018 | 2018-07-16 | 2938 | 2939 | 8827
Jul | 2018 | 2018-07-17 | 3653 | 3654 | 7433
Jul | 2018 | 2018-07-18 | 4151 | 4152 | 9257
Jul | 2018 | 2018-07-19 | 4681 | 4682 | 7356
Jul | 2018 | 2018-07-20 | 4554 | 4555 | 6405
Jul | 2018 | 2018-07-21 | 5008 | 5009 | 2932
Jul | 2018 | 2018-07-22 | 4196 | 4197 | 7806
Jul | 2018 | 2018-07-23 | 4199 | 4200 | 7846
Jul | 2018 | 2018-07-24 | 4448 | 4449 | 7801
Jul | 2018 | 2018-07-25 | 4731 | 4732 | 8178
Jul | 2018 | 2018-07-26 | 4418 | 4419 | 8547
Jul | 2018 | 2018-07-27 | 4342 | 4343 | 7148
Jul | 2018 | 2018-07-28 | 4658 | 4659 | 6587
Jul | 2018 | 2018-07-29 | 3404 | 3405 | 5351
Jul | 2018 | 2018-07-30 | 5397 | 5398 | 7509
Jul | 2018 | 2018-07-31 | 4986 | 4987 | 8051
Aug | 2018 | 2018-08-01 | 7400 | 7401 | 8942
Aug | 2018 | 2018-08-02 | 7658 | 7659 | 9879
Aug | 2018 | 2018-08-03 | 6267 | 6268 | 10160
Aug | 2018 | 2018-08-04 | 6129 | 6130 | 8295
Aug | 2018 | 2018-08-05 | 6687 | 6688 | 7218
Aug | 2018 | 2018-08-06 | 7129 | 7130 | 8502
Aug | 2018 | 2018-08-07 | 7264 | 7265 | 10613
Aug | 2018 | 2018-08-08 | 7643 | 7644 | 7958
Aug | 2018 | 2018-08-09 | 8113 | 8114 | 10376
Aug | 2018 | 2018-08-10 | 8372 | 8373 | 11857
Aug | 2018 | 2018-08-11 | 6870 | 6871 | 6408
Aug | 2018 | 2018-08-12 | 6363 | 6364 | 6201
Aug | 2018 | 2018-08-13 | 6581 | 6582 | 6836
Aug | 2018 | 2018-08-14 | 7851 | 7852 | 12708
Aug | 2018 | 2018-08-15 | 8403 | 8404 | 11383
Aug | 2018 | 2018-08-16 | 8341 | 8342 | 11423
Aug | 2018 | 2018-08-17 | 6964 | 6965 | 7546
Aug | 2018 | 2018-08-18 | 6216 | 6217 | 7747
Aug | 2018 | 2018-08-19 | 6631 | 6632 | 7827
Aug | 2018 | 2018-08-20 | 7238 | 7239 | 7377
Aug | 2018 | 2018-08-21 | 7011 | 7012 | 8804
Aug | 2018 | 2018-08-22 | 6836 | 6837 | 8250
Aug | 2018 | 2018-08-23 | 8242 | 8243 | 7675
Aug | 2018 | 2018-08-24 | 9207 | 9208 | 9153
Aug | 2018 | 2018-08-25 | 8871 | 8872 | 8225
Aug | 2018 | 2018-08-26 | 8123 | 8124 | 9870
Aug | 2018 | 2018-08-27 | 8442 | 8443 | 11570
Aug | 2018 | 2018-08-28 | 8578 | 8579 | 13007
Aug | 2018 | 2018-08-29 | 8689 | 8690 | 11317
Aug | 2018 | 2018-08-30 | 7003 | 7004 | 8687
Aug | 2018 | 2018-08-31 | 7942 | 7943 | 9715
Sep | 2018 | 2018-09-01 | 7871 | 7872 | 8243
Sep | 2018 | 2018-09-02 | 7245 | 7246 | 7470
Sep | 2018 | 2018-09-03 | 8678 | 8679 | 9763
Sep | 2018 | 2018-09-04 | 8184 | 8185 | 10750
Sep | 2018 | 2018-09-05 | 9128 | 9129 | 9736
Sep | 2018 | 2018-09-06 | 8518 | 8519 | 9479
Sep | 2018 | 2018-09-07 | 9139 | 9140 | 9650
Sep | 2018 | 2018-09-08 | 8967 | 8968 | 9985
Sep | 2018 | 2018-09-09 | 9004 | 9005 | 10210
Sep | 2018 | 2018-09-10 | 9221 | 9222 | 7505
Sep | 2018 | 2018-09-11 | 9161 | 9162 | 10038
Sep | 2018 | 2018-09-12 | 9190 | 9191 | 9210
Sep | 2018 | 2018-09-13 | 9143 | 9144 | 10200
Sep | 2018 | 2018-09-14 | 9325 | 9326 | 10523
Sep | 2018 | 2018-09-15 | 9187 | 9188 | 10528
Sep | 2018 | 2018-09-16 | 8339 | 8340 | 10251
Sep | 2018 | 2018-09-17 | 8823 | 8824 | 6867
Sep | 2018 | 2018-09-18 | 8607 | 8608 | 7536
Sep | 2018 | 2018-09-19 | 8763 | 8764 | 10295
Sep | 2018 | 2018-09-20 | 7060 | 7061 | 9150
Sep | 2018 | 2018-09-21 | 8970 | 8971 | 10484
Sep | 2018 | 2018-09-22 | 8872 | 8873 | 10602
Sep | 2018 | 2018-09-23 | 8451 | 8452 | 9813
Sep | 2018 | 2018-09-24 | 8917 | 8918 | 10234
Sep | 2018 | 2018-09-25 | 9032 | 9033 | 10592
Sep | 2018 | 2018-09-26 | 7748 | 7749 | 10574
Sep | 2018 | 2018-09-27 | 8656 | 8657 | 10510
Sep | 2018 | 2018-09-28 | 8584 | 8585 | 10358
Sep | 2018 | 2018-09-29 | 9024 | 9025 | 10334
Sep | 2018 | 2018-09-30 | 8984 | 8985 | 10468

## Prepaid Meter
TOTAL NUMBER OF CONSUMERS WITH PREPAID METERS BY DISCOs AS AT Q3 2018
Disco | PPM as at End Dec 2017 (q4 2017) | PPM as at End March 2018 (q1 2018) | PPM as at End June 2018 (q2 2018) | PPM as at End September 2018 (q3 2018) | qtr on qtr growth %
Abuja | 259879 | 260667 | 270918 | 292714 | 8.0452
Benin | 277368 | 282868 | 282868 | 285144 | 0.80462
Eko* | 153307 | 158157 | 158157 | 159784 | 1.0287
Enugu | 116615 | 116623 | 140064 | 140064 | 0
Ibadan | 228261 | 254261 | 254261 | 254261 | 0
Ikeja | 137109 | 157797 | 157797 | 159221 | 0.90243
Jos | 52038 | 54395 | 54395 | 54895 | 0.9192
Kaduna | 115790 | 138164 | 138165 | 138165 | 0
Kano | 62677 | 63037 | 65060 | 65060 | 0
PH | 56183 | 66507 | 66507 | 66507 | 0
Yola | 37329 | 37329 | 37329 | 37329 | 0
Total | 1496556 | 1589805 | 1615066 | 1653144 | 2.3577
qtr on qtr growth % |  | 6.2309 | 1.5889 | 2.3577

## Myto Load Allocation
ACTUAL MYTO ALLOCATION
| MYTO ALLOCATION FORMULAR | Actual MYTO Allocation for July
| % | %
ABUJA | 11.5 | 13.0415
BENIN | 9 | 9.8391
EKO | 11 | 11.9699
ENUGU | 9 | 8.2583
IBADAN | 13 | 13.3981
IKEJA | 15 | 13.2269
JOS | 5.5 | 4.5537
KADUNA | 8 | 7.845
KANO | 8 | 6.9188
PH | 6.5 | 7.3086
YOLA | 3.5 | 3.6401
| 100 | 100
N:B- Only data for July is available while August and september are yet to be submitted to NERC.

## consumption
Energy (KWh)
| July | August | Septmeber
ABUJA | 280334510
BENIN | 211496640
EKO | 257299270
ENUGU | 177516730
IBADAN | 287999480
IKEJA | 284318920
JOS | 97884780
KADUNA | 168632980
KANO | 148722580
P/HARCOURT | 157103210
YOLA | 78245200
2149554300
N:B- Only data for July is available while August and september are yet to be submitted to NERC.